## BID FORM
PEACE RIVER WATER MAIN INTERCONNECT, BID #202050MN
ADDENDUM NO. 2
Bidders must provide prices for each line item for their bid to be considered responsive.
Item no. | Description | Unit | Qty | Unit Price($) | Amount ($)
1 | Mobilization and Demobilization (not to exceed 5% Subtotal of Line Items no. 2-41)* | LS | 1 | 0 | 0
2 | Water Main-Open Cut Installation - 30" C900 PVC | LF | 26040 | 0 | 0
3 | Water Main - Open Cut Installation - 24" DIP | LF | 227 | 0 | 0
4 | Water Main - Horizontal Directional Drill Installation - 30" HDPE DR-11 | LF | 2280 | 0 | 0
5 | Water Main - Horizontal Directional Drill Installation - 30" HDPE DR-9 | LF | 1100 | 0 | 0
6 | Water Main-Jack & Bore Installation- 42" Steel Casing | LF | 60 | 0 | 0
7 | Water Main - Above Grade Installation - 24" DIP | LF | 119 | 0 | 0
8 | Water Main - Above Grade Installation - 16" DIP | LF | 25 | 0 | 0
9 | Water Main Relocation -8" C900 PVC | LF | 400 | 0 | 0
10 | Water Main Relocation -10" | LF | 20 | 0 | 0
11 | Force Main Relocation - 4" C900 PVC | LF | 200 | 0 | 0
12 | Private Utility Relocation - Buried Electric | LF | 80 | 0 | 0
13 | Private Utility Relocation - Buried Telephone | LF | 1520 | 0 | 0
14 | Butterfly Valves - 24" Diameter | EA | 4 | 0 | 0
15 | Gate Valves - 30" Diameter | EA | 12 | 0 | 0
16 | Gate Valves - 24" Diameter | EA | 4 | 0 | 0
17 | Gate Valves - 16" Diameter | EA | 2 | 0 | 0
18 | Inspection Manhole | EA | 1 | 0 | 0
19 | Air Release Valve Assemblies - 2" Diameter | EA | 12 | 0 | 0
20 | Fire Hydrant Assemblies | EA | 8 | 0 | 0
21 | Altitude Valves - 24" Diameter | EA | 1 | 0 | 0
22 | Connections to Existing 30" Water Main | EA | 1 | 0 | 0
23 | Holding of FPL (Florida Power & Light) Utility Poles | EA | 0 | 0 | 0
23 | Water Storage Side Wall Tank Penetrations (CROM) - 16" Diameter | EA | 2 | 0 | 0
24 | Water Storage Side Wall Tank Penetrations (CROM) - Altitude Valve Tank Sense Line | EA | 1 | 0 | 0
25 | Chemical Injection Improvements | LS | 1 | 0 | 0
26 | Instrumentation and Control Improvements | LS | 1 | 0 | 0
27 | Collector Road Milling Existing Asphalt Pavement (3-1/2" Depth) | SY | 3743 | 0 | 0
28 | Collector Road Superpave Asphaltic Concrete, Traffic C | TN | 544 | 0 | 0
29 | Collector Road Optional Base, Base Group 9 | SY | 5439 | 0 | 0
30 | Collector Road Type B Stabilization | SY | 5439 | 0 | 0
31 | Local Road Milling Existing Asphalt Pavement (1-1/2" Depth) | SY | 2312 | 0 | 0
32 | Local Road Superpave Asphaltic Concrete, Traffic B | TN | 398 | 0 | 0
33 | Local Road Optional Base, Base Group 6 | SY | 5304 | 0 | 0
34 | Local Road Type B Stabilization | SY | 5304 | 0 | 0
35 | Concrte Sidewalk Restoration | SY | 921 | 0 | 0
36 | Driveway Restoration | SY | 109 | 0 | 0
37 | Concrete Curb & Gutter Restoration | LF | 492 | 0 | 0
38 | Flush Curb (Pump Station No. 5 Driveway) | LF | 50 | 0 | 0
39 | PVC Conduit - 3" Diameter PVC | LF | 23821 | 0 | 0
40 | Pull Boxes | EA | 24 | 0 | 0
SUBTOTAL BASE BID ITEMS - PEACE RIVER WATER MAIN INTERCONNECT |  |  |  |  | 0
PLUS CONTINGENCY ALLOWANCE (5% OF SUBTOTAL BASE BID PRICE) |  |  |  |  | 0
PLUS PERMIT ALLOWANCE |  |  |  |  | 5000
TOTAL BASE BID PRICE- PEACE RIVER WATER MAIN INTERCONNECT
ALTERNATE A - POTABLE WATER MAIN INTERCONNECT
Item No. | Description | Unit | Qty | Unit Price($) | Amount ($)
41 | Water Main - Open Cut Installation - 30" DIP | LF | 26040 |  | 0
SUBTOTAL ALTERNATE A -POTABLE WATER MAIN INTERCONNECT |  |  |  |  | 0
*If an amount greater than 5% of the subtotal of Line Items no. 2-41 is entered, the cell will turn red and be illegible.
*** If the Alternate A is selected the difference between Item No. 2 and Item No. 42 will added to the amount of the award.